## Slide 1: Deep Learning CAD Project Defense
Abdelrahman HABIB

## Slide 2: Outline
Augmentation & Pre-processing
  General augmentation/pre-processing
  Hair augmentation (segmentation + augmentation)
Segmentation Masks
Architectures
  Base Architecture with visual attention blocks
  Ensemble 5-folds Architecture
Configurations (Experiments Controllers)
Results & Discussion
Grad-CAM Visualization
Conclusion

## Slide 3: [1/7] Augmentation & Pre-processing (1/3)
Train
Validation
Test
1. CropFrame (a)
2. AdvancedHairAugmentation(a)
3. HorizontalFlip
4. VerticalFlip
5. ColorJitter
6. Rotate
7. RandomBrightnessContrast
8. OneOf (MotionBlur, MedianBlur, GaussianBlur, GaussNoise)
9. CLAHE
10. Transpose
Custom pre-processing function added to the augmentation transformer with probability (p), (1. p = 100%, 2. p=50%).
Depends on the experiment, we return the mask or None.
Random labels for test as we don’t use it (labels are generally based on the filename (class) and index.
11. HueSaturationValue
12. Resize
13. Normalize
1. CropFrame(a)
2. Resize
3. Normalize
Returns:
- image
- segmentation mask (b)
- label (c)
Notes: The preprocessing (CropFrame) and AdvancedHairAugmentation were wrapped as Albumentation package functions to be called at the augmentation transformer, with probability of 100% for CropFrame as it has a validation inside it to not crop images without microscopic view, and also to make the images similar to the masks dimensions as they were also processed with the same functions. The AdvancedHairAugmentation had probability of 50%, where internally, it had another random hair generator of 0 to 5 new hairs, with random rotations, flip, and number …
We will talk about the hair augmentation in a next slide.

## Slide 4: [1/7] Augmentation & Pre-processing – Hair Augmentation (2/3)
Manual Hair Segmentation
Sample to segment
Resized, Adjusted Contrast
Segmented 5 hair samples from different lesions. The resize and contrast/intensity adjustment is to ensure that the augmented hair is small & dark. Hair is augmented with random rotation, flip, sizes, and maximum 5 new hairs in each image [0 to 5].
Notes: The hair was segmented manually by hand from 5 images, and resized then adjusted the contrast to be smaller than the images and not affect the overall image features. This way, we are solving two problems:
The model will no longer learn that certain group of images (that could belong to a specific class due to imbalance) have hair, and others not; this way, we are adding hair with a probability to all images and forcing the model to learn that it is the problem of the entire dataset and not a specific feature for a specific group.
By adding hair (and not removing it with inpainting), we are avoiding manipulating or altering (all) of the image's texture/color features. As there is no distinctive way to detect hair, the inpainting will affect negatively all images. Adding hair avoids the inpainting process and adds the hair in a way that it is random and doesn’t alter the image features.

## Slide 5
[1/7] Augmentation & Pre-processing (Results) (3/3)
Notes: Example of the full augmentation process.

## Slide 6: [2/7] Skin Lesion Segmentation (1/1) (*)
* Purely image processing! Detailed methodology can be found in the appendix slides, as this is an optional step in the project (yet improved the results).
Clear & simple to segment
Very small & similar objects surrounding
Multiple objects with lesion
A lot of hair on the lesion
Black corners surrounding

## Slide 7: [3/7] Architectures (Base) (1/3)
Yan, Y., Kawahara, J., & Hamarneh, G. (2019). Melanoma recognition via visual attention. In Information Processing in Medical Imaging: 26th International Conference, IPMI 2019, Hong Kong, China, June 2–7, 2019, Proceedings 26 (pp. 793-804). Springer International Publishing.
Base Model VGG16_BN
Attention Blocks
Outputs: features (that we combine) + attention masks
(that we use with our segmentation in the loss term)
X 2
Notes: The final architecture followed is using VGG16_BN and two attention blocks, that was implemented for melanoma recognition. We didn’t use the same exact code but wrote it from scratch and compared the implementation and result to the author results, with also using the official implementation as guidance, and specific numbers for the architecture to be the same. Each of the attention blocks outputs both the features (that are combined with the model features before entering into the classifier layer), and an attention map (that we can use as a mask to compare it with our segmentation mask).

## Slide 8: [3/7] Architectures (Base) (2/3)
Base Model VGG16_BN
Attention Blocks
Uses visual attention blocks, concatenates early features to classifier layer.
Model is trained from scratch! Loaded pre-trained weights and initialized the classifier and both attention blocks using ‘kaiming normal’.
Same base architecture for binary and multi-class problem.
They authors used a single model and claimed to be the state-of-the-art with a single model, reaching auc = 88% with masks. This model can work with/without masks. Can we do better?
We will discuss the loss and training configurations (with and without masks) in a later slide!

## Slide 9: [3/7] Architectures (Ensemble) (3/3)
Let’s call the entire model as VGG16_BN_Attention.
VGG16_BN_Attention
Our approach is to combine both train and valid splits, the split into k-folds using StratifiedKFold; k=5.
Train k-Models, on every split. This is one way to handle imbalance of challenge 2! Combine using majority voting.
More robust results, as the valid split is always balanced, more data to train.
Can work with/without masks; will be discussed later in the configuration slides.
Data
Fold 1
Fold 5
…
VGG16_BN_Attention
k=1
VGG16_BN_Attention
k=5
…
Majority/Weighted Voting
Predictions
Base Model VGG16_BN
Attention Blocks

## Slide 10: [4/7] Configurations
 | Challenge 1 |  | Challenge 2
Epochs | 50 (EarlyStopping stops with patience = 5) |  | 
Learning Rates | 0.0001 & 0.00001 (best results – avoided overfitting) |  | 
Experiments Controllers | ClassifierExperiment.py (Base 1 Model / No Masks Used) ClassifierExperimentCV.py (Base ensemble Model / No Mask Used) ClassifierSegExperiment.py (Base 1 Model / Masks Used) ClassifierSegExperimentCV.py (Base ensemble Model / Masks Used) |  | 
Loss (No Mask, Experiments 1, 2) | ( Weighted Cross Entropy) | * (Multi-class focal loss) | 1. Multi-class focal loss (No Masks, Experiments 1, 2) 2.
Loss (w/ Mask, Experiments 3, 4) | Challenge 1: Challenge 2: |  | 
 | Challenge 1 |  | Challenge 2
Epochs | 50 (EarlyStopping stops with patience = 5) |  | 
Learning Rates | 0.0001 & 0.00001 (best results – avoided overfitting) |  | 
Experiments Controllers | ClassifierExperiment.py (Base 1 Model / No Masks Used) ClassifierExperimentCV.py (Base ensemble Model / No Mask Used) ClassifierSegExperiment.py (Base 1 Model / Masks Used) ClassifierSegExperimentCV.py (Base ensemble Model / Masks Used) |  | 
Loss (No Mask, Experiments 1, 2) |  |  | 1. Multi-class focal loss (No Masks, Experiments 1, 2) 2.
Loss (w/ Mask, Experiments 3, 4) | Challenge 1: Challenge 2: |  | 
* Multi-class focal loss is initialized with weighted CE, making it handle class imbalance for challenge 2.
* The only difference between attention mask 1 and 2 are the sizes (different scale factor used).
Notes: The attention blocks outputs features plus an attention mask. We compare it to the segmentation we made and produce a loss that is only used in the training loop to control the overall training loss based on the attention mask accuracy.

## Slide 11: [5/7] Results and Discussion – Challenge 1 (1/4)
Single (Base) model results, trained on training split only.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 88.3825
AUC: 88.2887
Kappa: 76.7159
Target 0: Sensitivity: 93.6820
Target 1: Sensitivity: 82.8954

## Slide 12: [5/7] Results and Discussion – Challenge 1 (2/4)
* Results obtained from all 5 models on the validation can be found in the appendix.
Ensemble model results trained on k=5 splits. Results only using top 3 accuracy models (slight improvement than using all 5)*.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 93.9937
AUC: 93.9561
Kappa: 87.9751
Target 0: Sensitivity: 96.1160
Target 1: Sensitivity: 91.7962
Combination Strategy: Majority Voting
Training time: 5 days, 12 hours
+ 5.6112
+ 5.6674
+ 11.2492
+ 2.4340
+ 8.9008
improvement made by the ensemble. Used for test.

## Slide 13: [5/7] Results and Discussion – Challenge 2 (3/4)
Single (Base) model results, trained on training split only.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 93.3858
AUC: 98.4695
Kappa: 87.9904
Target 0: Sensitivity: 96.3127
Target 1: Sensitivity: 94.5783
Target 2: Sensitivity: 65.9574

## Slide 14: [5/7] Results and Discussion – Challenge 2 (4/4)
* Results obtained from all 5 models on the validation can be found in the appendix.
Ensemble model results trained on k=5 splits. Results only using top 3 accuracy models (slight improvement than using all 5)*.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 97.7165
AUC: 99.8283
Kappa: 95.9136
Target 0: Sensitivity: 98.0826
Target 1: Sensitivity: 97.5904
Target 2: Sensitivity: 95.7447
Combination Strategy: Majority Voting
Training time: 3 days, 9 hours
+ 4.3307
+ 1.3588
+ 7.9232
+ 1.7699
+ 3.0121
+ 29.7873
improvement made by the ensemble. Used for test.

## Slide 15: [6/7] Grad-CAM Visualization
Model Fold = 3, Challenge = 2, Split = Validation, Attention Map = 1 (pooling layer 3)
Notes: Grad CAM visualization of the attention maps generated from pooling layer 3 (first attention map/block) on challenge 2 validation split.

## Slide 16: [7/7] Conclusion
Ensemble approach improves the results significantly, given the same (best) model is trained on different splits of the dataset.
Useful approaches to handle class imbalance:
  StratifiedKFold (with ensemble).
  Multi-class focal loss.
  Augmentation.
Visual attention blocks + segmentation masks improved slightly the results, by contributing to the training loss.
Augmenting the hair slightly increased the results, making the hair challenge not focused on a specific group of images, and avoiding inpainting all the dataset.
Skin Hair Dataset (Drive Download): https://drive.google.com/drive/u/1/folders/1eNltv3y3yea7wx6mPUag8VvydgJss_mb

## Slide 17: [Appendix] Skin Lesion Segmentation
Crop Frame, Extract Hair
Raw
Gaussian Filter, CLAHE
Mean Shift Filter (Pyramid = 4)
KMeans (K=2)
Remove Circular Borders
Erode – Remove Lines
Keep Largest Center Region
Helps removing remaining hair
Removes microscopic corners (if not cropped)
Most of the lesions are in the center of the frame.

## Slide 18: [Appendix] Results and Discussion – Challenge 1
+ number – improvement made by the ensemble.
Ensemble model results, trained using k=5 folds (using all 5 models).
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 93.5194
AUC: 93.481
Kappa: 87.0255
Target 0: Sensitivity: 95.7017
Target 1: Sensitivity: 91.2600
Combination Strategy: Majority Voting
Training time: 5 days, 12 hours
+ 5.1369
+ 5.1923
+ 10.3096
+ 2.0197
+ 8.3646

## Slide 19: [Appendix] Results and Discussion – Challenge 2
+ number – improvement made by the ensemble.
Ensemble model results, trained using k=5 folds (using all 5 models).
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 97.5591
AUC: 99.8111
Kappa: 95.6179
Target 0: Sensitivity: 97.7876
Target 1: Sensitivity: 97.9919
Target 2: Sensitivity: 93.6170
Combination Strategy: Majority Voting
Training time: 3 days, 9 hours
+ 4.1733
+ 1.3416
+ 7.6275
+ 1.4749
+ 3.4136
+ 27.6596