## Slide 1: Deep Learning CAD Project Defense
Abdelrahman HABIB

## Slide 2: Outline
Augmentation & Pre-processing
  General augmentation/pre-processing
  Hair augmentation (segmentation + augmentation)
Segmentation Masks
Architectures
  Base Architecture with visual attention blocks
  Ensemble 5-folds Architecture
Configurations (Experiments Controllers)
Results & Discussion
Grad-CAM Visualization
Conclusion

## Slide 3: [1/7] Augmentation & Pre-processing (1/3)
Train
Validation
Test
1. CropFrame (a)
2. AdvancedHairAugmentation(a)
3. HorizontalFlip
4. VerticalFlip
5. ColorJitter
6. Rotate
7. RandomBrightnessContrast
8. OneOf (MotionBlur, MedianBlur, GaussianBlur, GaussNoise)
9. CLAHE
10. Transpose
Custom pre-processing function added to the augmentation transformer with probability (p), (1. p = 100%, 2. p=50%).
Depends on the experiment, we return the mask or None.
Random labels for test as we don’t use it (labels are generally based on the filename (class) and index.
11. HueSaturationValue
12. Resize
13. Normalize
1. CropFrame(a)
2. Resize
3. Normalize
Returns:
- image
- segmentation mask (b)
- label (c)

## Slide 4: [1/7] Augmentation & Pre-processing – Hair Augmentation (2/3)
Manual Hair Segmentation
Sample to segment
Resized, Adjusted Contrast
Segmented 5 hair samples from different lesions. The resize and contrast/intensity adjustment is to ensure that the augmented hair is small & dark. Hair is augmented with random rotation, flip, sizes, and maximum 5 new hairs in each image [0 to 5].
Notes: Cite the author of the function

## Slide 5
[1/7] Augmentation & Pre-processing (Results) (3/3)

## Slide 6: [2/7] Skin Lesion Segmentation (1/1) (*)
* Purely image processing! Detailed methodology can be found in the appendix slides, as this is an optional step in the project (yet improved the results).
Clear & simple to segment
Very small & similar objects surrounding
Multiple objects with lesion
A lot of hair on the lesion
Black corners surrounding

## Slide 7: [3/7] Architectures (Base) (1/3)
Yan, Y., Kawahara, J., & Hamarneh, G. (2019). Melanoma recognition via visual attention. In Information Processing in Medical Imaging: 26th International Conference, IPMI 2019, Hong Kong, China, June 2–7, 2019, Proceedings 26 (pp. 793-804). Springer International Publishing.
Base Model VGG16_BN
Attention Blocks
Outputs: features (that we combine) + attention masks
(that we use with our segmentation in the loss term)
X 2

## Slide 8: [3/7] Architectures (Base) (2/3)
Base Model VGG16_BN
Attention Blocks
Uses visual attention blocks, concatenates early features to classifier layer.
Model is trained from scratch! Loaded pre-trained weights and initialized the classifier and both attention blocks using ‘kaiming normal’.
Same base architecture for binary and multi-class problem.
They authors used a single model and claimed to be the state-of-the-art with a single model, reaching auc = 88% with masks. This model can work with/without masks. Can we do better?
We will discuss the loss and training configurations (with and without masks) in a later slide!

## Slide 9: [3/7] Architectures (Ensemble) (3/3)
Let’s call the entire model as VGG16_BN_Attention.
VGG16_BN_Attention
Our approach is to combine both train and valid splits, the split into k-folds using StratifiedKFold; k=5.
Train k-Models, on every split. This is one way to handle imbalance of challenge 2! Combine using majority voting.
More robust results, as the valid split is always balanced, more data to train.
Can work with/without masks; will be discussed later in the configuration slides.
Data
Fold 1
Fold 5
…
VGG16_BN_Attention
k=1
VGG16_BN_Attention
k=5
…
Majority/Weighted Voting
Predictions
Base Model VGG16_BN
Attention Blocks

## Slide 10: [4/7] Configurations
 | Challenge 1 |  | Challenge 2
Epochs | 50 (EarlyStopping stops with patient = 5) |  | 
Experiments Controllers | ClassifierExperiment.py (Base 1 Model / No Masks Used) ClassifierExperimentCV.py (Base ensemble Model / No Mask Used) ClassifierSegExperiment.py (Base 1 Model / Masks Used) ClassifierSegExperimentCV.py (Base ensemble Model / Masks Used) |  | 
Loss | No Masks, Experiments 1, 2: With masks, Experiments 3, 4: . | No Masks, Experiments 1, 2: * With masks, Experiments 3, 4: . | 1. Multi-class focal loss (No Masks, Experiments 1, 2) 2.
 | Challenge 1 |  | Challenge 2
Epochs | 50 (EarlyStopping stops with patient = 5) |  | 
Experiments Controllers | ClassifierExperiment.py (Base 1 Model / No Masks Used) ClassifierExperimentCV.py (Base ensemble Model / No Mask Used) ClassifierSegExperiment.py (Base 1 Model / Masks Used) ClassifierSegExperimentCV.py (Base ensemble Model / Masks Used) |  | 
Loss |  |  | 1. Multi-class focal loss (No Masks, Experiments 1, 2) 2.
* Multi-class focal loss is initialized with weighted CE, making it handle class imbalance for challenge 2.
* The attention blocks outputs features plus an attention mask. We compare it to the segmentation we made and produce a loss that is only used in the training loop to control the overall training loss based on the attention mask accuracy!
* The only difference between attention mask 1 and 2 are the sizes (different scale factor used).

## Slide 11: [5/7] Results and Discussion – Challenge 1 (1/4)
Ensemble model was used for testing as it obtained the best validation results, not the base single models.
Single (Base) model results, trained on training split only.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 88.3825
AUC: 88.2887
Kappa: 76.7159
Target 0: Sensitivity: 93.6820
Target 1: Sensitivity: 82.8954

## Slide 12: [5/7] Results and Discussion – Challenge 1 (2/4)
+ number – improvement made by the ensemble.
Ensemble model was used for testing as it obtained the best validation results, not the base single models.
Ensemble model results, trained using k=5 folds.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 93.5194
AUC: 93.481
Kappa: 87.0255
Target 0: Sensitivity: 95.7017
Target 1: Sensitivity: 91.2600
Combination Strategy: Majority Voting
+ 5.1369
+ 5.1923
+ 10.3096
+ 2.0197
+ 8.3646

## Slide 13: [5/7] Results and Discussion – Challenge 2 (3/4)
Single (Base) model results, trained on training split only.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 93.3858
AUC: 98.4695
Kappa: 87.9904
Target 0: Sensitivity: 96.3127
Target 1: Sensitivity: 94.5783
Target 2: Sensitivity: 65.9574
Ensemble model was used for testing as it obtained the best validation results, not the base single models.

## Slide 14: [5/7] Results and Discussion – Challenge 2 (4/4)
Ensemble model results, trained using k=5 folds.
Config: Preprocessing + ( Hair + overall) Augmentation + Masks.
Accuracy: 97.5591
AUC: 99.8111
Kappa: 95.6179
Target 0: Sensitivity: 97.7876
Target 1: Sensitivity: 97.9919
Target 2: Sensitivity: 93.6170
Combination Strategy: Majority Voting
+ number – improvement made by the ensemble.
Ensemble model was used for testing as it obtained the best validation results, not the base single models.
+ 4.1733
+ 1.3416
+ 7.6275
+ 1.4749
+ 3.4136
+ 27.6596

## Slide 15: [6/7] Grad-CAM Visualization
Model Fold = 3, Challenge = 2, Split = Validation, Attention Map = 1

## Slide 16: [7/7] Conclusion
Skin Hair Dataset
GitHub Repository
Ensemble approach improves the results significantly, given the same (best) model is trained on different splits of the dataset.
Useful approaches to handle class imbalance:
  StratifiedKFold (with ensemble).
  Multi-class focal loss.
  Augmentation.
Visual attention blocks + segmentation masks improved slightly the results, by contributing to the training loss.
Augmenting the hair slightly increased the results, making the hair challenge not focused on a specific group of images, and avoiding inpainting all the dataset.

## Slide 17: [Appendix] Skin Lesion Segmentation
Crop Frame, Extract Hair
Raw
Gaussian Filter, CLAHE
Mean Shift Filter (Pyramid = 4)
KMeans (K=2)
Remove Circular Borders
Erode – Remove Lines
Keep Largest Center Region
Helps removing remaining hair
Removes microscopic corners (if not cropped)
Most of the lesions are in the center of the frame.